# ColoriSense Pro Mobile App User Manual

Professional Comprehensive Documentation

# Introduction

ColoriSense Pro is a mobile-ready colorimetric analysis application for laboratory image analysis, biosensors, and diagnostics.

# Navigation

Main tabs include Home, Image, Regions, Histogram, Analysis, Results, and Calibration.

# How to Use

1. Open app.

2. Upload image.

3. Select regions.

4. Label Sample/Blank/Standard.

5. Run analysis.

6. Review results.

# Features

ROI selection, histogram generation, absorbance calculations, calibration curves, concentration prediction, offline use.

# Precautions

Use clear images, stable lighting, accurate standards, and consistent region sizes.

# Troubleshooting

If no results appear, confirm regions are selected and image loaded properly.

# Academic Attribution

Developed by Victor Omiyale A.

Supervisor: Dr. A. M. Ogunmolasuyi